M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILING:

Interface produces an extremely wide range of carpet tiles. Tiles are available with tufted cut and loop pile, fusion bonded cut pile and micro-tuft and multi-level pile. Carpet tiles conform to the requirements of BS EN 1307. In addition to the supply of floor coverings Interface also provides a routine carpet maintenance programme. For further information contact Interface’s Technical Department.

Luxury Living Carpet Tiles

A tufted plain textured cut pile manufactured from 100% BCF nylon with a Graphlex® backing.  Available in 36 colourways and carries a Class 33 heavy contract classification.  The 9.6mm thick tile is available in 500 x 500mm size as standard. Size options are available with minimum quantities.

Use our ReEntry service to take away existing Interface tiles which will be cleaned and repurposed through our ReEntry partners (Registered charities).

Simply add our Cool Carpet service to your order to make your purchase carbon neutral.  Consult with Interface for technical literature and to obtain samples.

Location: Heavy use areas. Office, retail, hospitality, leisure and educational areas.

Base: Please refer to Interface installation guide for details of suitability.

- Preparation: Subfloors should be prepared in accordance with BS 5325 or corresponding National and European Standards.

- Fabricated Underlay: N/a. Carpet tiles to be adhered direct to the subfloor.

Carpet Tiles:

- Manufacturer: Interface

- Product reference: Luxury Living Carpet Tiles

- Type: Tufted plain textured cut pile

BS EN 1307 classification:

- Category: Type 1

- Level of use class: Heavy Contract 33

- Luxury rating class: LC5

Size: 500 x 500mm standard size. 
Colour/pattern: 8331 Cipriani/8332 Samanna/8333 Maroma/8334 Cardinia/8335 Taranga/8336 Sedana/8337 Meliora/8338 Hanya/8339 Byamee/8340 Finnya/8341 Latanya/8342 Mabinogi/8343 Napasai/8344 Kambala/8345 Wandinja/8346 Jimbaran/8347 Taranis/8348 Fiachna/8349 Miriyan/8350 Avalon/8351 Annea/8352 Ciaran/8353 Ganan/8354 Manoir/8355 Amarina/8356 Leewana/8357 Ekala/8358 Matari/8359 Kolora/8360 Jerara/8361 Sagrado/8362 Bresali/8363 Apanie/8364 Mayrah/8365 Killara/8366 Olono

Method of laying: Monolithic, Brick and Ashlar

Interface Europe Ltd., Shelf Mills, Shelf, Halifax, West Yorkshire HX3 7PA

Tel: 01274 690690, Fax: 01274 694095.

Customer Services Tel: 08705 304030, Fax: 01274 698300,

Email: enquiries@interface.com     Web: www.interface.com