M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILING:

Interface produces an extremely wide range of carpet tiles. Tiles are available with tufted cut and loop pile, fusion bonded cut pile and micro-tuft and multi-level pile. Carpet tiles conform to the requirements of BS EN 1307. In addition to the supply of floor coverings Interface also provides a routine carpet maintenance programme, using the Image range of cleaning materials. For further information contact Interface’s Technical Department.

# Straightforward Carpet Tiles

A microtuft patterned level loop tile manufactured from 100% BCF solution dyed nylon, contains pre-consumer recycled content, with Graphlex® backing.

The range is available in 23 colourways and carries a Class 33 heavy contract classification. The 4.8mm thick tiles are available in 500 x 500mm as standard.

Use our ReEntry service to take away existing Interface tiles which will be cleaned and repurposed through our ReEntry partners (Registered charities).

Simply add our Cool Carpet service to your order to make your purchase carbon neutral. Consult with Interface for technical literature and to obtain samples.

Location: Heavy use areas. Office, retail, hospitality, leisure and educational areas.

Base: Please refer to Interface installation guide for details of suitability.

- Preparation: Subfloors should be prepared in accordance with BS 5325 or corresponding National and European Standards.

- Fabricated Underlay: Should be laid where required over existing timber bases.

Carpet Tiles:

- Manufacturer: Interface

- Product reference: Straightforward Carpet Tiles

- Type: Microtuft patterned level loop pile

BS EN 1307 classification:

- Category: Type 1

- Level of use class: Heavy Contract 33

- Luxury rating class: LC2

Size: 500 x 500mm standard size

Colour/pattern:   308129 Calico/308128 Sesame/308131 Chestnut/308130 Copper/ 308141 Chocolate/308127 Mink/308136 Taupe/308137 Suede/308123 Coffee/308142 Pistachio/308124 Iron/308125 China/308126 Marine/308132 Slate/308120 Steel/308122 Lead/308121 Granite/308135 Spearmint/308139 Delphinium/308134 Lilac/308138 Lime/308133 Fuchsia/308140 Turquoise
Method of laying: Non-Directional

Interface Europe Ltd., Shelf Mills, Shelf, Halifax, West Yorkshire HX3 7PA

Tel: 01274 690690, Fax: 01274 694095.

Customer Services Tel: 08705 304030, Fax: 01274 698300,

Email: marketing@interface.com    Web: www.interface.com